## Blad1
Method name | N | Mean | Bias | CV | Sample | Reference Value | Year | Source | Type
Abbott Architect/Aeroset | 47 | 4.9 |  | 5.8 | GH2-01 | 5.1 | 2009 | CAP | Fresh
Abbott Architect/Aeroset | 47 | 8.2 |  | 4.3 | GH2-02 | 8.4 | 2009 | CAP | Fresh
Abbott Architect/Aeroset | 47 | 5.8 |  | 8 | GH2-03 | 6 | 2009 | CAP | Fresh
Abbott Architect | 50 | 6.73 | 0.13 | 4.5 | GH2-04 | 6.6 | 2009 | CAP | Fresh
Abbott Architect | 50 | 9.62 | 0.12 | 4.2 | GH2-05 | 9.5 | 2009 | CAP | Fresh
Abbott Architect | 50 | 7.7 | 0.3 | 5.4 | GH2-06 | 7.4 | 2009 | CAP | Fresh
Beckman Synchron CX System | 32 | 5 |  | 3.4 | GH2-01 | 5.1 | 2009 | CAP | Fresh
Beckman Synchron CX System | 32 | 7.9 |  | 4.4 | GH2-02 | 8.4 | 2009 | CAP | Fresh
Beckman Synchron CX System | 32 | 5.8 |  | 5.3 | GH2-03 | 6 | 2009 | CAP | Fresh
Beckman Synchron CX System | 27 | 6.45 | -0.15 | 5.1 | GH2-04 | 6.6 | 2009 | CAP | Fresh
Beckman Synchron CX System | 27 | 9.21 | -0.29 | 5.6 | GH2-05 | 9.5 | 2009 | CAP | Fresh
Beckman Synchron CX System | 27 | 7.18 | -0.22 | 5.5 | GH2-06 | 7.4 | 2009 | CAP | Fresh
Beckman Synchron LX System | 85 | 5 |  | 4.9 | GH2-01 | 5.1 | 2009 | CAP | Fresh
Beckman Synchron LX System | 85 | 8.2 |  | 3.7 | GH2-02 | 8.4 | 2009 | CAP | Fresh
Beckman Synchron LX System | 85 | 5.8 |  | 3.8 | GH2-03 | 6 | 2009 | CAP | Fresh
Beckman Synchron LX System | 87 | 6.49 | -0.11 | 3.8 | GH2-04 | 6.6 | 2009 | CAP | Fresh
Beckman Synchron LX System | 87 | 9.23 | -0.27 | 3.5 | GH2-05 | 9.5 | 2009 | CAP | Fresh
Beckman Synchron LX System | 87 | 7.1 | -0.3 | 3.9 | GH2-06 | 7.4 | 2009 | CAP | Fresh
Beckman Unicel DxC Synchron | 210 | 5 |  | 3.7 | GH2-01 | 5.1 | 2009 | CAP | Fresh
Beckman Unicel DxC Synchron | 210 | 8.1 |  | 3.5 | GH2-02 | 8.4 | 2009 | CAP | Fresh
Beckman Unicel DxC Synchron | 210 | 5.8 |  | 3.5 | GH2-03 | 6 | 2009 | CAP | Fresh
Beckman Unicel DxC Synchron | 269 | 6.43 | -0.17 | 3.6 | GH2-04 | 6.6 | 2009 | CAP | Fresh
Beckman Unicel DxC Synchron | 269 | 9.18 | -0.32 | 3.4 | GH2-05 | 9.5 | 2009 | CAP | Fresh
Beckman Unicel DxC Synchron | 269 | 7.06 | -0.34 | 3.6 | GH2-06 | 7.4 | 2009 | CAP | Fresh
Bio-Rad D-10 | 191 | 5.1 |  | 3.2 | GH2-01 | 5.1 | 2009 | CAP | Fresh
Bio-Rad D-10 | 191 | 8.5 |  | 2.3 | GH2-02 | 8.4 | 2009 | CAP | Fresh
Bio-Rad D-10 | 191 | 6.1 |  | 3 | GH2-03 | 6 | 2009 | CAP | Fresh
Bio-Rad D-10 | 209 | 6.74 | 0.14 | 2.9 | GH2-04 | 6.6 | 2009 | CAP | Fresh
Bio-Rad D-10 | 209 | 9.54 | 0.04 | 2.8 | GH2-05 | 9.5 | 2009 | CAP | Fresh
Bio-Rad D-10 | 209 | 7.6 | 0.2 | 3.2 | GH2-06 | 7.4 | 2009 | CAP | Fresh
Bio-Rad Variant II A1c | 146 | 5.1 |  | 3.6 | GH2-01 | 5.1 | 2009 | CAP | Fresh
Bio-Rad Variant II A1c | 146 | 8.7 |  | 2.8 | GH2-02 | 8.4 | 2009 | CAP | Fresh
Bio-Rad Variant II A1c | 146 | 6.2 |  | 2.8 | GH2-03 | 6 | 2009 | CAP | Fresh
Bio-Rad Variant II | 139 | 6.81 | 0.21 | 2.8 | GH2-04 | 6.6 | 2009 | CAP | Fresh
Bio-Rad Variant II | 139 | 9.75 | 0.25 | 2.7 | GH2-05 | 9.5 | 2009 | CAP | Fresh
Bio-Rad Variant II | 139 | 7.67 | 0.27 | 3.4 | GH2-06 | 7.4 | 2009 | CAP | Fresh
Bio-Rad Variant II Turbo A1c | 130 | 5.1 |  | 2.8 | GH2-01 | 5.1 | 2009 | CAP | Fresh
Bio-Rad Variant II Turbo A1c | 130 | 8.5 |  | 2.5 | GH2-02 | 8.4 | 2009 | CAP | Fresh
Bio-Rad Variant II Turbo A1c | 130 | 6 |  | 2.6 | GH2-03 | 6 | 2009 | CAP | Fresh
Bio-Rad Variant II Turbo | 147 | 6.76 | 0.16 | 2.9 | GH2-04 | 6.6 | 2009 | CAP | Fresh
Bio-Rad Variant II Turbo | 147 | 9.45 | -0.05 | 2.4 | GH2-05 | 9.5 | 2009 | CAP | Fresh
Bio-Rad Variant II Turbo | 147 | 7.58 | 0.18 | 2.6 | GH2-06 | 7.4 | 2009 | CAP | Fresh
Metrika A1cNOW | 17 | 4.6 |  | 5 | GH2-01 | 5.1 | 2009 | CAP | Fresh
Metrika A1cNOW | 17 | 7.2 |  | 6 | GH2-02 | 8.4 | 2009 | CAP | Fresh
Metrika A1cNOW | 17 | 5.3 |  | 5.2 | GH2-03 | 6 | 2009 | CAP | Fresh
Metrika A1cNOW | 19 | 5.98 | -0.62 | 7.9 | GH2-04 | 6.6 | 2009 | CAP | Fresh
Metrika A1cNOW | 19 | 8.51 | -0.99 | 6.5 | GH2-05 | 9.5 | 2009 | CAP | Fresh
Metrika A1cNOW | 19 | 6.72 | -0.68 | 6 | GH2-06 | 7.4 | 2009 | CAP | Fresh
Olympus AU 400/400e | 15 | 4.8 |  | 5.3 | GH2-01 | 5.1 | 2009 | CAP | Fresh
Olympus AU 400/400e | 15 | 8.1 |  | 7.3 | GH2-02 | 8.4 | 2009 | CAP | Fresh
Olympus AU 400/400e | 15 | 5.6 |  | 5.7 | GH2-03 | 6 | 2009 | CAP | Fresh
Olympus AU system | 25 | 6.46 | -0.14 | 4.4 | GH2-04 | 6.6 | 2009 | CAP | Fresh
Olympus AU system | 25 | 9.24 | -0.26 | 4.8 | GH2-05 | 9.5 | 2009 | CAP | Fresh
Olympus AU system | 25 | 7.32 | -0.08 | 4.8 | GH2-06 | 7.4 | 2009 | CAP | Fresh
Primus HPLC (affinity) | 12 | 5.1 |  | 2.8 | GH2-01 | 5.1 | 2009 | CAP | Fresh
Primus HPLC (affinity) | 12 | 8.3 |  | 2.8 | GH2-02 | 8.4 | 2009 | CAP | Fresh
Primus HPLC (affinity) | 12 | 5.9 |  | 2.3 | GH2-03 | 6 | 2009 | CAP | Fresh
Roche cobas c501 | 108 | 5.3 |  | 3.3 | GH2-01 | 5.1 | 2009 | CAP | Fresh
Roche cobas c501 | 108 | 8.2 |  | 3.6 | GH2-02 | 8.4 | 2009 | CAP | Fresh
Roche cobas c501 | 108 | 6 |  | 3.4 | GH2-03 | 6 | 2009 | CAP | Fresh
Roche cobas c501 | 133 | 6.7 | 0.1 | 3 | GH2-04 | 6.6 | 2009 | CAP | Fresh
Roche cobas c501 | 133 | 9.29 | -0.21 | 3.7 | GH2-05 | 9.5 | 2009 | CAP | Fresh
Roche cobas c501 | 133 | 7.35 | -0.05 | 3.7 | GH2-06 | 7.4 | 2009 | CAP | Fresh
Roche Cobas Integra 400 Gen.2 | 26 | 5.2 |  | 4.1 | GH2-01 | 5.1 | 2009 | CAP | Fresh
Roche Cobas Integra 400 Gen.2 | 26 | 8.5 |  | 2.4 | GH2-02 | 8.4 | 2009 | CAP | Fresh
Roche Cobas Integra 400 Gen.2 | 26 | 6.1 |  | 3.6 | GH2-03 | 6 | 2009 | CAP | Fresh
Roche Cobas Integra 400 | 38 | 6.87 | 0.27 | 3.6 | GH2-04 | 6.6 | 2009 | CAP | Fresh
Roche Cobas Integra 400 | 38 | 9.75 | 0.25 | 2.4 | GH2-05 | 9.5 | 2009 | CAP | Fresh
Roche Cobas Integra 400 | 38 | 7.71 | 0.31 | 3.3 | GH2-06 | 7.4 | 2009 | CAP | Fresh
Roche Cobas Integra 400 (non TQ) | 20 | 5.3 |  | 2.9 | GH2-01 | 5.1 | 2009 | CAP | Fresh
Roche Cobas Integra 400 (non TQ) | 20 | 8.7 |  | 3.3 | GH2-02 | 8.4 | 2009 | CAP | Fresh
Roche Cobas Integra 400 (non TQ) | 20 | 6.2 |  | 3.3 | GH2-03 | 6 | 2009 | CAP | Fresh
Roche Cobas Integra 800 Gen.2 | 116 | 5.3 |  | 3.9 | GH2-01 | 5.1 | 2009 | CAP | Fresh
Roche Cobas Integra 800 Gen.2 | 116 | 8.5 |  | 3.6 | GH2-02 | 8.4 | 2009 | CAP | Fresh
Roche Cobas Integra 800 Gen.2 | 116 | 6.1 |  | 3.3 | GH2-03 | 6 | 2009 | CAP | Fresh
Roche Cobas Integra 800 | 139 | 6.78 | 0.18 | 3.2 | GH2-04 | 6.6 | 2009 | CAP | Fresh
Roche Cobas Integra 800 | 139 | 9.59 | 0.09 | 2.8 | GH2-05 | 9.5 | 2009 | CAP | Fresh
Roche Cobas Integra 800 | 139 | 7.55 | 0.15 | 3.3 | GH2-06 | 7.4 | 2009 | CAP | Fresh
Roche Cobas Integra 800 (non TQ) | 11 | 5.2 |  | 4.9 | GH2-01 | 5.1 | 2009 | CAP | Fresh
Roche Cobas Integra 800 (non TQ) | 11 | 8.5 |  | 3.1 | GH2-02 | 8.4 | 2009 | CAP | Fresh
Roche Cobas Integra 800 (non TQ) | 11 | 6.1 |  | 3.4 | GH2-03 | 6 | 2009 | CAP | Fresh
Roche/Hitachi Modular P | 20 | 5.2 |  | 3.2 | GH2-01 | 5.1 | 2009 | CAP | Fresh
Roche/Hitachi Modular P | 20 | 8.3 |  | 3.2 | GH2-02 | 8.4 | 2009 | CAP | Fresh
Roche/Hitachi Modular P | 20 | 6 |  | 4.7 | GH2-03 | 6 | 2009 | CAP | Fresh
Roche/Hitachi Modular P | 15 | 6.61 | 0.01 | 3.5 | GH2-04 | 6.6 | 2009 | CAP | Fresh
Roche/Hitachi Modular P | 15 | 9.18 | -0.32 | 3.3 | GH2-05 | 9.5 | 2009 | CAP | Fresh
Roche/Hitachi Modular P | 15 | 7.27 | -0.13 | 4.4 | GH2-06 | 7.4 | 2009 | CAP | Fresh
Siemens Advia 1650 | 16 | 5.1 |  | 4.1 | GH2-01 | 5.1 | 2009 | CAP | Fresh
Siemens Advia 1650 | 16 | 8.3 |  | 3 | GH2-02 | 8.4 | 2009 | CAP | Fresh
Siemens Advia 1650 | 16 | 6.1 |  | 2.7 | GH2-03 | 6 | 2009 | CAP | Fresh
Siemens Advia Chemistry (new) | 21 | 6.41 | -0.19 | 7.6 | GH2-04 | 6.6 | 2009 | CAP | Fresh
Siemens Advia Chemistry (new) | 21 | 9 | -0.5 | 3.4 | GH2-05 | 9.5 | 2009 | CAP | Fresh
Siemens Advia Chemistry (new) | 21 | 6.98 | -0.42 | 9.7 | GH2-06 | 7.4 | 2009 | CAP | Fresh
Siemens Advia 1800 | 14 | 5.1 |  | 5.4 | GH2-01 | 5.1 | 2009 | CAP | Fresh
Siemens Advia 1800 | 14 | 8.4 |  | 4.1 | GH2-02 | 8.4 | 2009 | CAP | Fresh
Siemens Advia 1800 | 14 | 6.1 |  | 5.1 | GH2-03 | 6 | 2009 | CAP | Fresh
Siemens Advia Chemistry (original) | 26 | 6.79 | 0.19 | 3.8 | GH2-04 | 6.6 | 2009 | CAP | Fresh
Siemens Advia Chemistry (original) | 26 | 9.31 | -0.19 | 4.1 | GH2-05 | 9.5 | 2009 | CAP | Fresh
Siemens Advia Chemistry (original) | 26 | 7.54 | 0.14 | 4.1 | GH2-06 | 7.4 | 2009 | CAP | Fresh
Siemens DCA 2000/200+ | 134 | 5.1 |  | 2.9 | GH2-01 | 5.1 | 2009 | CAP | Fresh
Siemens DCA 2000/200+ | 134 | 8.4 |  | 3.3 | GH2-02 | 8.4 | 2009 | CAP | Fresh
Siemens DCA 2000/200+ | 134 | 6 |  | 3.3 | GH2-03 | 6 | 2009 | CAP | Fresh
Siemens DCA 2000/200+ | 106 | 6.81 | 0.21 | 2.5 | GH2-04 | 6.6 | 2009 | CAP | Fresh
Siemens DCA 2000/200+ | 106 | 9.48 | -0.02 | 3 | GH2-05 | 9.5 | 2009 | CAP | Fresh
Siemens DCA 2000/200+ | 106 | 7.56 | 0.16 | 3.1 | GH2-06 | 7.4 | 2009 | CAP | Fresh
Siemens DCA Vantage | 59 | 5.1 |  | 2.3 | GH2-01 | 5.1 | 2009 | CAP | Fresh
Siemens DCA Vantage | 59 | 8.4 |  | 2.6 | GH2-02 | 8.4 | 2009 | CAP | Fresh
Siemens DCA Vantage | 59 | 6 |  | 2.9 | GH2-03 | 6 | 2009 | CAP | Fresh
Siemens DCA Vantage | 97 | 6.78 | 0.18 | 2.8 | GH2-04 | 6.6 | 2009 | CAP | Fresh
Siemens DCA Vantage | 97 | 9.39 | -0.11 | 3.4 | GH2-05 | 9.5 | 2009 | CAP | Fresh
Siemens DCA Vantage | 97 | 7.55 | 0.15 | 2.5 | GH2-06 | 7.4 | 2009 | CAP | Fresh
Siemens Dimension ExL | 12 | 5.4 |  | 3.7 | GH2-01 | 5.1 | 2009 | CAP | Fresh
Siemens Dimension ExL | 12 | 8.4 |  | 3.6 | GH2-02 | 8.4 | 2009 | CAP | Fresh
Siemens Dimension ExL | 12 | 6.2 |  | 3.1 | GH2-03 | 6 | 2009 | CAP | Fresh
Siemens Dimension ExL | 25 | 6.62 | 0.02 | 4.6 | GH2-04 | 6.6 | 2009 | CAP | Fresh
Siemens Dimension ExL | 25 | 9.32 | -0.18 | 5 | GH2-05 | 9.5 | 2009 | CAP | Fresh
Siemens Dimension ExL | 25 | 7.28 | -0.12 | 5.2 | GH2-06 | 7.4 | 2009 | CAP | Fresh
Siemens Dimension RxL | 346 | 5.4 |  | 3.7 | GH2-01 | 5.1 | 2009 | CAP | Fresh
Siemens Dimension RxL | 346 | 8.4 |  | 4.1 | GH2-02 | 8.4 | 2009 | CAP | Fresh
Siemens Dimension RxL | 346 | 6.1 |  | 3.9 | GH2-03 | 6 | 2009 | CAP | Fresh
Siemens Dimension RxL | 349 | 6.67 | 0.07 | 3.3 | GH2-04 | 6.6 | 2009 | CAP | Fresh
Siemens Dimension RxL | 349 | 9.41 | -0.09 | 4.4 | GH2-05 | 9.5 | 2009 | CAP | Fresh
Siemens Dimension RxL | 349 | 7.29 | -0.11 | 3.7 | GH2-06 | 7.4 | 2009 | CAP | Fresh
Siemens Dimension Vista | 22 | 4.9 |  | 4 | GH2-01 | 5.1 | 2009 | CAP | Fresh
Siemens Dimension Vista | 22 | 8.6 |  | 2.3 | GH2-02 | 8.4 | 2009 | CAP | Fresh
Siemens Dimension Vista | 22 | 6.1 |  | 5.6 | GH2-03 | 6 | 2009 | CAP | Fresh
Siemens Dimension Vista | 36 | 6.84 | 0.24 | 6.5 | GH2-04 | 6.6 | 2009 | CAP | Fresh
Siemens Dimension Vista | 36 | 9.21 | -0.29 | 2.4 | GH2-05 | 9.5 | 2009 | CAP | Fresh
Siemens Dimension Vista | 36 | 7.45 | 0.05 | 4.4 | GH2-06 | 7.4 | 2009 | CAP | Fresh
Siemens Dimension Xpand | 139 | 5.3 |  | 3.8 | GH2-01 | 5.1 | 2009 | CAP | Fresh
Siemens Dimension Xpand | 139 | 8.3 |  | 4.1 | GH2-02 | 8.4 | 2009 | CAP | Fresh
Siemens Dimension Xpand | 139 | 6 |  | 3.9 | GH2-03 | 6 | 2009 | CAP | Fresh
Siemens Dimension Xpand | 141 | 6.6 | 0 | 3.3 | GH2-04 | 6.6 | 2009 | CAP | Fresh
Siemens Dimension Xpand | 141 | 9.37 | -0.13 | 4.9 | GH2-05 | 9.5 | 2009 | CAP | Fresh
Siemens Dimension Xpand | 141 | 7.23 | -0.17 | 3.7 | GH2-06 | 7.4 | 2009 | CAP | Fresh
Tosoh A1c 2.2 Plus | 91 | 5.3 |  | 3.5 | GH2-01 | 5.1 | 2009 | CAP | Fresh
Tosoh A1c 2.2 Plus | 91 | 8.7 |  | 2.6 | GH2-02 | 8.4 | 2009 | CAP | Fresh
Tosoh A1c 2.2 Plus | 91 | 6.3 |  | 2.8 | GH2-03 | 6 | 2009 | CAP | Fresh
Tosoh A1c 2.2 Plus | 71 | 6.87 | 0.27 | 3.1 | GH2-04 | 6.6 | 2009 | CAP | Fresh
Tosoh A1c 2.2 Plus | 71 | 9.63 | 0.13 | 2.8 | GH2-05 | 9.5 | 2009 | CAP | Fresh
Tosoh A1c 2.2 Plus | 71 | 7.73 | 0.33 | 3 | GH2-06 | 7.4 | 2009 | CAP | Fresh
Tosoh G7 Auto HPLC | 240 | 5.2 |  | 1.7 | GH2-01 | 5.1 | 2009 | CAP | Fresh
Tosoh G7 Auto HPLC | 240 | 8.6 |  | 1.4 | GH2-02 | 8.4 | 2009 | CAP | Fresh
Tosoh G7 Auto HPLC | 240 | 6.2 |  | 1.5 | GH2-03 | 6 | 2009 | CAP | Fresh
Tosoh G7 Auto HPLC | 248 | 6.8 | 0.2 | 1.9 | GH2-04 | 6.6 | 2009 | CAP | Fresh
Tosoh G7 Auto HPLC | 248 | 9.53 | 0.03 | 1.8 | GH2-05 | 9.5 | 2009 | CAP | Fresh
Tosoh G7 Auto HPLC | 248 | 7.67 | 0.27 | 2.3 | GH2-06 | 7.4 | 2009 | CAP | Fresh
Tosoh G8 Auto HPLC | 41 | 5.2 |  | 1.8 | GH2-01 | 5.1 | 2009 | CAP | Fresh
Tosoh G8 Auto HPLC | 41 | 8.5 |  | 1.2 | GH2-02 | 8.4 | 2009 | CAP | Fresh
Tosoh G8 Auto HPLC | 41 | 6.2 |  | 1.3 | GH2-03 | 6 | 2009 | CAP | Fresh
Tosoh G8 Auto HPLC | 84 | 6.8 | 0.2 | 1.7 | GH2-04 | 6.6 | 2009 | CAP | Fresh
Tosoh G8 Auto HPLC | 84 | 9.52 | 0.02 | 1.5 | GH2-05 | 9.5 | 2009 | CAP | Fresh
Tosoh G8 Auto HPLC | 84 | 7.63 | 0.23 | 1.9 | GH2-06 | 7.4 | 2009 | CAP | Fresh
Trinity Biotech HPLC (Affinity) | 27 | 6.66 | 0.06 | 3.4 | GH2-04 | 6.6 | 2009 | CAP | Fresh
Trinity Biotech HPLC (Affinity) | 27 | 9.46 | -0.04 | 3.9 | GH2-05 | 9.5 | 2009 | CAP | Fresh
Trinity Biotech HPLC (Affinity) | 27 | 7.36 | -0.04 | 3.4 | GH2-06 | 7.4 | 2009 | CAP | Fresh
Vitros 5,1 FS Chem Syst | 111 | 5.1 |  | 3.4 | GH2-01 | 5.1 | 2009 | CAP | Fresh
Vitros 5,1 FS Chem Syst | 111 | 8.3 |  | 3.8 | GH2-02 | 8.4 | 2009 | CAP | Fresh
Vitros 5,1 FS Chem Syst | 111 | 5.9 |  | 3.9 | GH2-03 | 6 | 2009 | CAP | Fresh
Vitros 5,1 FS Chem Syst | 124 | 6.8 | 0.2 | 4.1 | GH2-04 | 6.6 | 2009 | CAP | Fresh
Vitros 5,1 FS Chem Syst | 124 | 9.58 | 0.08 | 3.7 | GH2-05 | 9.5 | 2009 | CAP | Fresh
Vitros 5,1 FS Chem Syst | 124 | 7.55 | 0.15 | 4.2 | GH2-06 | 7.4 | 2009 | CAP | Fresh